## Sarjeta
VERIFICAÇÃO DA CAPACIDADE HIDRÁULICA DA SARJETA
OBRA: | ESTRADA SÃO CAETANO |  |  |  |  | POA - IPH
TR= | 5 |  | K= | 76.92 | COEF. RUN-OFF = |  | 0.4
VÉRTICE |  | L | ÁREA (há) | COTA RUA | COTA RUA | I rua | TC | VAZÃO | VAZÃO | VDN | VAZÃO | VAZÃO | VAZÃO | EFICIÊNCIA % | BL(S/N) | BL(S/N) | OBSERVAÇÕES |  |  | TC
MONT | JUS | (m) | TRECHO | MONT. | JUS. | (m/m) | (min) | PROJ.(l/s) | TOTAL (l/s) | (m/s) | SARJ. | CAPTA | PASSA | (%) | (%) | TESTE |  |  |  |  | CHUVA
[20 empty] | 6.6053 | 99
260 | 240 | 20 | 0.04 | 101.934 | 101.864 | 0.0035 | 5 | 6.6053 | 6.6053 | 0.37863 | 18.9315 | 0 | 6.6053 | 0 |  | N
240 | 220 | 20 | 0.04 | 101.864 | 101.794 | 0.0035 | 5 | 6.6053 | 13.2106 | 0.37863 | 18.9315 | 13.2106 | 0 | 100 | Rápido | N
220 | 200 | 20 | 0.04 | 101.794 | 101.724 | 0.0035 | 5 | 6.6053 | 6.6053 | 0.37863 | 18.9315 | 0 | 6.6053 | 0 |  | N |  |  |  | 6.6053
200 | 180 | 20 | 0.04 | 101.724 | 101.654 | 0.0035 | 5 | 6.6053 | 13.2106 | 0.37863 | 18.9315 | 0 | 13.2106 | 0 |  | N |  |  |  | 6.6053
180 | 160 | 20 | 0.04 | 101.654 | 101.511 | 0.00715 | 5 | 6.6053 | 19.8158 | 0.54117 | 27.0585 | 0 | 19.8158 | 0 |  | N |  |  |  | 6.6053
160 | 140 | 20 | 0.04 | 101.511 | 101.222 | 0.01445 | 5 | 6.6053 | 26.4211 | 0.76933 | 38.4666 | 0 | 26.4211 | 0 |  | N
140 | 120 | 20 | 0.04 | 101.222 | 100.787 | 0.02175 | 5 | 6.6053 | 33.0264 | 0.94386 | 47.1932 | 22.1277 | 10.8987 | 67 | Rápido | N
120 | 100 | 20 | 0.04 | 100.787 | 100.207 | 0.029 | 5 | 6.6053 | 17.504 | 1.0899 | 54.494 | 0 | 17.504 | 0 |  | N
100 | 80 | 20 | 0.04 | 100.207 | 99.553 | 0.0327 | 5 | 6.6053 | 24.1093 | 1.1573 | 57.8661 | 0 | 24.1093 | 0 |  | N
80 | 60 | 20 | 0.04 | 99.553 | 98.899 | 0.0327 | 5 | 6.6053 | 30.7146 | 1.1573 | 57.8661 | 0 | 30.7146 | 0 |  | N
60 | 40 | 20 | 0.04 | 98.899 | 98.148 | 0.03755 | 5 | 6.6053 | 37.3198 | 1.2402 | 62.009 | 0 | 37.3198 | 0 |  | N
40 | 20 | 20 | 0.04 | 98.148 | 97.201 | 0.04735 | 5 | 6.6053 | 43.9251 | 1.3926 | 69.6322 | 0 | 43.9251 | 0 |  | N
20 | E60 | 20 | 0.04 | 97.201 | 96.058 | 0.05715 | 5 | 6.6053 | 50.5304 | 1.53 | 76.4994 | 23.244 | 27.2864 | 46 | Rápido | N
E60 | E59 | 20 | 0.04 | 96.058 | 94.719 | 0.06695 | 5 | 6.6053 | 33.8917 | 1.656 | 82.799 | 0 | 33.8917 | 0 |  | N
E59 | E58 | 20 | 0.04 | 94.719 | 93.283 | 0.0718 | 5 | 6.6053 | 40.497 | 1.7149 | 85.7457 | 0 | 40.497 | 0 |  | N
E58 | E57 | 20 | 0.04 | 93.283 | 92.648 | 0.03175 | 5 | 6.6053 | 47.1023 | 1.1404 | 57.0193 | 22.6091 | 24.4932 | 48 | Rápido | N
E57 | E56 | 20 | 0.04 | 92.648 | 91.39 | 0.0629 | 5 | #REF! | #REF! | 1.6051 | 80.2556 | #REF! | #REF! | 0 |  | #REF!
E56 | E55 | 20 | 0.04 | 91.39 | 90.262 | 0.0564 | 6 | #REF! | #REF! | 1.5199 | 75.9958 | #REF! | #REF! | 0 |  | #REF!
E55 | E54 | 20 | 0.04 | 90.262 | 89.268 | 0.0497 | 5 | #REF! | #REF! | 1.4268 | 71.3392 | #REF! | #REF! | 0 |  | #REF!
E54 | E53 | 20 | 0.04 | 89.268 | 88.4 | 0.0434 | 5 | #REF! | #REF! | 1.3333 | 66.6645 | #REF! | #REF! | 0 |  | #REF!
E53 | E52 | 20 | 0.04 | 88.4 | 87.6 | 0.04 | 5 | #REF! | #REF! | 1.28 | 64 | #REF! | #REF! | 37 | Rápido | #REF!
E52 | E51 | 20 | 0.04 | 87.6 | 86.857 | 0.03715 | 5 | #REF! | #REF! | 1.2336 | 61.6779 | #REF! | #REF! | 0 |  | #REF!
E51 | E50 | 20 | 0.04 | 86.857 | 86.228 | 0.03145 | 5 | #REF! | #REF! | 1.135 | 56.7493 | #REF! | #REF! | 0 |  | #REF!
E50 | E49 | 20 | 0.04 | 86.228 | 85.713 | 0.02575 | 5 | #REF! | #REF! | 1.027 | 51.3498 | #REF! | #REF! | 0 |  | #REF!
E49 | E48 | 20 | 0.04 | 85.713 | 85.311 | 0.0201 | 5 | #REF! | #REF! | 0.90736 | 45.3678 | #REF! | #REF! | 0 |  | #REF!
E48 | E47 | 20 | 0.04 | 85.311 | 84.983 | 0.0164 | 5 | #REF! | #REF! | 0.8196 | 40.98 | #REF! | #REF! | 63 | Rápido | #REF!
E47 | E46 | 20 | 0.04 | 84.983 | 84.771 | 0.0106 | 5 | #REF! | #REF! | 0.65892 | 32.946 | #REF! | #REF! | 0 |  | #REF!
E46 | E45 | 20 | 0.04 | 84.771 | 84.691 | 0.004 | 5 | #REF! | #REF! | 0.40477 | 20.2386 | #REF! | #REF! | 100 | Rápido | #REF!
| PREFEITURA MUNICIPAL DE PORTO ALEGRE SECRETARIA MUNICIPAL DE OBRAS E VIAÇÃO ESCRITÓRIO MUNICIPAL DE PROJETOS E OBRAS |  |  |  | CAPACIDADE HIDRÁULICA DAS SARJETAS | [12 empty] | Data: Fev/2003
[5 empty] | ESTRADA SÃO CAETANO TRECHO: A PARTIR DA ESTACA 60+5m ( PI-2001 ) ATÉ 350,00 m ALÉM | [12 empty] | Revisão:
Visto:
[18 empty] | Pag.: | 8

## PLUVIAL (hidden)
OBRA: | RUA RUY RODRIGO BRASILEIRO DE AZAMBUJA | [5 empty] | POA - IPH | [5 empty] | REDE DE ESGOTO PLUVIAL
TR= | 5 |  | K= | 76.92 |  | COEF. RUN-OFF = |  | 0.6 |  |  |  |  | PLANILHA DE DIMENSIONAMENTO HIDRÁULICO
| ENTRADA |  |  |  | SAÍDA | ENTRADA |  | SAÍDA | [9 empty] | ENTRADA
LOCAL | VÉRT. | VÉRT. | L | ÁREA (ha) | ÁREA (ha) | COTA RUA | COTA RUA | I rua | TC | VAZÃO | DN | DN | I canal | VAZÃO | VDN | VN | TP | COTA | COTA
| A | B | (m) | TRECHO | ACUM. | MONT. | JUS. | (m/m) | (min) | PROJ.(l/s) | (m) | (m) | (m/m) | CANAL (l/s) | (m/s) | (m/s) | (min) | MONT. (m) | JUS. (m)
| PV1 | PV2 | 40 | 0.4 | 0.4 | 6.0745 | 6.0025 | 0.0018 | 5 | 101.4144 | 0.41299 | 0.5 | 0.002 | 168.8572 | 0.85999 | 0.89869 | 0.74182 | 5.1745 | 5.0945
| PV2 | PV3 | 40 | 0.4 | 0.8 | 6.0025 | 5.8665 | 0.0034 | 5.7418 | 194.8224 | 0.48893 | 0.6 | 0.003 | 336.291 | 1.1894 | 1.2322 | 0.54103 | 4.9945 | 4.8745
| PV3 | PV4 | 40 | 0.4 | 1.2 | 5.8665 | 5.6905 | 0.0044 | 6.2828 | 286.2288 | 0.53515 | 0.6 | 0.004 | 388.3154 | 1.3734 | 1.5025 | 0.44371 | 4.8745 | 4.7145
| PV4 | PV5 | 40 | 0.4 | 1.6 | 5.6905 | 5.6185 | 0.0018 | 6.7266 | 373.632 | 0.67346 | 0.8 | 0.002 | 591.3432 | 1.1765 | 1.2435 | 0.53612 | 4.5145 | 4.4345
| PV5 | PV6 | 40 | 0.8 | 2.4 | 5.6185 | 5.6745 | -0.0014 | 7.2627 | 548.4384 | 0.77772 | 0.8 | 0.002 | 591.3432 | 1.1765 | 1.3364 | 0.49883 | 4.4345 | 4.3545
| PV6 | PV7 | 40 | 0.4 | 2.8 | 5.6745 | 5.7945 | -0.003 | 7.7615 | 625.8336 | 0.81719 | 1 | 0.002 | 1072.1766 | 1.3652 | 1.4143 | 0.47138 | 4.1545 | 4.0745
| PV7 | PV8 | 40 | 0.4 | 3.2 | 5.7945 | 5.9145 | -0.003 | 8.2329 | 699.2256 | 0.85188 | 1 | 0.002 | 1072.1766 | 1.3652 | 1.4525 | 0.45897 | 4.0745 | 3.9945
| PV8 | PV9 | 50 | 0.5 | 3.7 | 5.9145 | 6.0645 | -0.003 | 8.6919 | 796.1364 | 0.89437 | 1 | 0.002 | 1072.1766 | 1.3652 | 1.4935 | 0.55798 | 3.9945 | 3.8945
| PV9 | PV9A | 20 | 0.2 | 3.9 | 6.0645 | 6.037 | 0.001375 | 9.2498 | 819.6552 | 0.90419 | 1 | 0.002 | 1072.1766 | 1.3652 | 1.5017 | 0.22198 | 3.8945 | 3.8545
| PV10 | PV10A | 24 | 0.4 | 0.4 | 6.0265 | 5.9595 | 0.0027917 | 5 | 101.4144 | 0.38275 | 0.5 | 0.003 | 206.807 | 1.0533 | 1.047 | 0.38206 | 4.9265 | 4.8545
| PV10A | PV11 | 11 | 0.24 | 1.09 | 5.9595 | 5.9285 | 0.0028182 | 5.3821 | 270.8999 | 0.55327 | 0.6 | 0.003 | 336.291 | 1.1894 | 1.3238 | 0.13849 | 4.7545 | 4.7215
| PV11 | PV12 | 44 | 0.11 | 1.65 | 5.9285 | 5.7945 | 0.0030455 | 5.5206 | 407.3256 | 0.6447 | 0.8 | 0.003 | 724.2446 | 1.4409 | 1.4812 | 0.49509 | 4.5215 | 4.3895
| PV12 | PV13 | 59 | 0.44 | 2.09 | 5.7945 | 5.6625 | 0.0022373 | 6.0156 | 502.0013 | 0.69726 | 0.8 | 0.003 | 724.2446 | 1.4409 | 1.5532 | 0.63309 | 4.3895 | 4.2125
| PV13 | VALO | 20 | 2.91 | 5 | 5.6625 | 5.6505 | 0.0006 | 6.6487 | 1167.6 | 0.9569 | 1 | 0.003 | 1313.1428 | 1.672 | 1.8893 | 0.17643 | 4.0125 | 3.9525
| PV14 | PV15 | 52 | 0.4 | 0.4 | 6.7545 | 6.0105 | 0.014308 | 5 | 101.4144 | 0.2856 | 0.4 | 0.0143 | 249.0267 | 1.9817 | 1.8826 | 0.46035 | 5.7545 | 5.0109
| PV15 | PV16 | 50 | 0.52 | 0.92 | 6.0105 | 5.6745 | 0.00672 | 5.4603 | 227.1149 | 0.44545 | 0.5 | 0.0067 | 309.0595 | 1.574 | 1.7173 | 0.48526 | 4.9109 | 4.5759
| PV16 | 13 | 12 | 0.95 | 1.87 | 5.6745 | 5.6625 | 0.001 | 5.9456 | 452.2782 | 0.67051 | 0.8 | 0.003 | 724.2446 | 1.4409 | 1.5172 | 0.13182 | 4.2759 | 4.2399
[6 empty] | PROJETO DE DRENAGEM PLUVIAL | [11 empty] | Data: | Mar/2003
[6 empty] | RUA RUY RODRIGO BRASILEIRO DE AZAMBUJA TRECHO: DA AV. JUCA BATISTA ATÉ A RUA JOSÉ BASTIDE | [11 empty] | Revisão:
Visto:
[18 empty] | Pag.: | 1

## VALORES (hidden)
Qh/Qd | Vh/Vd
0 | 0
0.01 | 0.321
0.02 | 0.396
0.03 | 0.447
0.04 | 0.487
0.05 | 0.521
0.06 | 0.55
0.07 | 0.575
0.08 | 0.599
0.09 | 0.62
0.1 | 0.639
0.11 | 0.657
0.12 | 0.674
0.13 | 0.69
0.14 | 0.705
0.15 | 0.719
0.16 | 0.732
0.17 | 0.745
0.18 | 0.757
0.19 | 0.769
0.2 | 0.78
0.21 | 0.791
0.22 | 0.802
0.23 | 0.812
0.24 | 0.821
0.25 | 0.831
0.26 | 0.84
0.27 | 0.849
0.28 | 0.857
0.29 | 0.866
0.3 | 0.874
0.31 | 0.881
0.32 | 0.889
0.33 | 0.897
0.34 | 0.904
0.35 | 0.911
0.36 | 0.918
0.37 | 0.924
0.38 | 0.931
0.39 | 0.937
0.4 | 0.944
0.41 | 0.95
0.42 | 0.956
0.43 | 0.962
0.44 | 0.967
0.45 | 0.973
0.46 | 0.979
0.47 | 0.984
0.48 | 0.989
0.49 | 0.994
0.5 | 1
0.51 | 1.004
0.52 | 1.009
0.53 | 1.014
0.54 | 1.019
0.55 | 1.023
0.56 | 1.028
0.57 | 1.032
0.58 | 1.036
0.59 | 1.041
0.6 | 1.045
0.61 | 1.049
0.62 | 1.053
0.63 | 1.057
0.64 | 1.06
0.65 | 1.064
0.66 | 1.068
0.67 | 1.071
0.68 | 1.075
0.69 | 1.078
0.7 | 1.081
0.71 | 1.085
0.72 | 1.088
0.73 | 1.091
0.74 | 1.094
0.75 | 1.097
0.76 | 1.1
0.77 | 1.103
0.78 | 1.105
0.79 | 1.108
0.8 | 1.111
0.81 | 1.113
0.82 | 1.115
0.83 | 1.118
0.84 | 1.12
0.85 | 1.122
0.86 | 1.124
0.87 | 1.126
0.88 | 1.128
0.89 | 1.13
0.9 | 1.131
0.91 | 1.133
0.92 | 1.134
0.93 | 1.136
0.94 | 1.137
0.95 | 1.138
0.96 | 1.139
0.97 | 1.139
0.98 | 1.14

## DADOS PARA ORÇAMENTO (hidden)
DADOS SOBRE TUBOS |  |  |  |  | 0.2 | 0.1 | VOLUME | REMOÇÃO | TRAVESSIA
DN | DN EXT | LARG VALA | ESPESSURA | ENROCAMENTO | LARG RADIER | ÁREA RADIER | ENVELOP | DN TUBO | ENROCAM | ENVELOP | RADIER | ESCAV TOT | REMOÇÃO
30 | 0.37 | 0.9 | 0.035 | 0.2 | 0.57 | 0.057 | 0.217 | 0.107 | 0.18 | 0.217 | 0.06 | 1.14 | 0.107
40 | 0.48 | 1 | 0.04 | 0.2 | 0.68 | 0.068 | 0.281 | 0.181 | 0.2 | 0.281 | 0.096 | 1.296 | 0.181
50 | 0.6 | 1.2 | 0.05 | 0.2 | 0.8 | 0.08 | 0.357 | 0.283
60 | 0.72 | 1.3 | 0.06 | 0.2 | 0.92 | 0.092 | 0.439 | 0.407
70
80 | 0.96 | 1.6 | 0.08 | 0.2 | 1.16 | 0.116 | 0.638 | 0.754
90
100 | 1.2 | 2 | 0.1 | 0.2 | 1.4 | 0.14 | 0.829 | 1.131
120 | 1.46 | 2.2 | 0.13 | 0.2 | 1.66 | 0.166 | 1.081 | 1.674
150 | 1.8 | 2.7 | 0.15 | 0.2 | 2 | 0.2 | 1.455 | 2.54

## CÁLCULO DAS QUANTIDADES (hidden)
RUA 1 | [37 empty] | COMPRIMENTO DOS TUBOS | [7 empty] | POÇOS DE VISITAS | [8 empty] | TRAVESSIAS Hméd=1
PV | TIPO | COTAS |  |  | Altura | Altura | Altura | Trecho |  | Compri- | Ø | Enve- |  | L(m) | h(m) | e(m) | h(m) | Escor | h(m) | largura | Enroca- | Largura | Largura | Largura | Radier | Radier | Escav. | Escav. | Vol. | Envel. | Envel. | Remoç | Vol | Remoç. | Reaterro | Escor. |  | DIAMETROS | [7 empty] | PV Tipo A |  |  | PV Tipo B |  |  | PV Tipo C |  |  | L(m) Digit | DN | DN 30 (Sug) | Enroc | Envel | Radier | Escav | Remoç. | Reater
Nº | A,B,C | Fundo | Fundo | Tampa | 1 | 2 | do PV | (PV/BL-PV) |  | mento | (cm) | lope | DN | envelop | média | de | da |  | enroc. | vala | mento | radier | radier | radier | (m2) | (m3) | adicion. | total | Env. | parcial |  | p/ DN | tubos |  |  |  |  | 30 | 40 | 50 | 60 | 80 | 100 | 120 | 150 | Nº | Altura | adicional | Nº | Altura | adicional | Nº | Altura | adicional
|  | 1(m) | 2(m) | (m) | (m) | (m) | (m) |  |  | L(m) |  | (1/0) | (m) | parc(m) |  | tubo | escav. | (1/0) |  | (m) | (m3) | Diametro | Envelop | (m) | Área | Vol | (m3) | (m3) | (m3/m) | (m) | (m3) | (m3/m) | (m3) | (m3) | (m3) | (m2) |  | (m) | (m) | (m) | (m) | (m) | (m) | (m) | (m) | A | (m) | (m) | B | (m) | (m) | C | (m) | (m) |  |  |  | (m3) | (m3) | (m3) | (m3) | (m3) | (m3)
T O T A L I Z A Ç Ã O ==>>Est 20 - Est28+02 | [6 empty] | #REF! |  |  | #REF! |  |  | 0 | #REF! | [6 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 80.5 | 0 | 210 | 14.49 | 17.4685 | 4.83 | 91.77 | 8.6135 | 83.1565
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8.5 |  | 30 | 1.53 | 1.8445 | 0.51 | 9.69 | 0.9095 | 8.7805
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 9.5 |  | 30 | 1.71 | 2.0615 | 0.57 | 10.83 | 1.0165 | 9.8135
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 10.5 |  | 30 | 1.89 | 2.2785 | 0.63 | 11.97 | 1.1235 | 10.8465
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 11.5 |  | 30 | 2.07 | 2.4955 | 0.69 | 13.11 | 1.2305 | 11.8795
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 12.5 |  | 30 | 2.25 | 2.7125 | 0.75 | 14.25 | 1.3375 | 12.9125
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 13.5 |  | 30 | 2.43 | 2.9295 | 0.81 | 15.39 | 1.4445 | 13.9455
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 14.5 |  | 30 | 2.61 | 3.1465 | 0.87 | 16.53 | 1.5515 | 14.9785
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 3 |  | 30 | 0.54 | 0.651 | 0.18 | 3.42 | 0.321 | 3.099
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 6 |  | 30 | 1.08 | 1.302 | 0.36 | 6.84 | 0.642 | 6.198
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 |  | 30 | 1.44 | 1.736 | 0.48 | 9.12 | 0.856 | 8.264
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 9 |  | 30 | 1.62 | 1.953 | 0.54 | 10.26 | 0.963 | 9.297
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 9 |  | 30 | 1.62 | 1.953 | 0.54 | 10.26 | 0.963 | 9.297
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 9 |  | 30 | 1.62 | 1.953 | 0.54 | 10.26 | 0.963 | 9.297
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 |  | 30 | 1.44 | 1.736 | 0.48 | 9.12 | 0.856 | 8.264
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22.5 |  | 30 | 4.05 | 4.8825 | 1.35 | 25.65 | 2.4075 | 23.2425
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 7 |  | 30 | 1.26 | 1.519 | 0.42 | 7.98 | 0.749 | 7.231
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 |  | 30 | 1.44 | 1.736 | 0.48 | 9.12 | 0.856 | 8.264
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 |  | 30 | 1.44 | 1.736 | 0.48 | 9.12 | 0.856 | 8.264
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 |  | 30 | 1.44 | 1.736 | 0.48 | 9.12 | 0.856 | 8.264
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 |  | 30 | 1.44 | 1.736 | 0.48 | 9.12 | 0.856 | 8.264
[22 empty] | 0 | 0 |  | #N/A
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 |  | 30 | 1.44 | 1.736 | 0.48 | 9.12 | 0.856 | 8.264
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 8 |  | 30 | 1.44 | 1.736 | 0.48 | 9.12 | 0.856 | 8.264
[22 empty] | 0 | 0 |  | #N/A
#REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | 14 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
T O T A L I Z A Ç Ã O ==>>Est 0 - Est 10 | [6 empty] | #REF! |  |  | #REF! |  |  | 0 | #REF! | [6 empty] | #REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 55 | 0 | 210 | 9.9 | 11.935 | 3.3 | 62.7 | 5.885 | 56.815
T O T A L I Z A Ç Ã O ==>>Est 10 - Est 20 | [6 empty] | #REF! |  |  | #REF! |  |  | 0 | #REF! | [6 empty] | #REF! | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 52 | 0 | 210 | 9.36 | 11.284 | 3.12 | 59.28 | 5.564 | 53.716
[34 empty] | folha 01/02 | [27 empty] | folha 02/02

## Orçamento (hidden)
PREFEITURA MUNICIPAL DE PORTO ALEGRE
SECRETARIA MUNICIPAL DE OBRAS E VIAÇÃO
EPO - DIVISÃO DE PROJETOS VIÁRIOS
Data:
ORÇAMENTO
Data base tabela preços unitários:Jun/02
1-DRENAGEM PLUVIAL - Est 0 - Est 10(PI 2000)
Coluna | Cód. | ÍTEM | Unidades | Quantitativos | Vl. Unitários | Total (R$) | 2000-10-01 | 2002-06-01
AC32+BJ32 | 90 | Escavação mec vala terra com retroescav prof 2,50 m | m3 | #REF! | 4.36 | #REF! | 4.36 | 4.36
(14x1,2)BL | 93 | Escavação manual valas em terra até 1,5 m prof | m3 | 16.8 | 13.45 | 225.96 | 13.45 | 13.45
AJ32+BL32 | 103 | Reenchimento de valas com material local (reaterro) | m3 | #REF! | 4.31 | #REF! | 4.31 | 4.31
AK32 | 106 | Escoramento tipo A | m3 | #REF! | 6.94 | #REF! | 6.94 | 6.94
AF32+BH32 | 110 | Lastro de concreto simples 15 mPa c/ forma (envelop) | m3 | #REF! | 286.84 | #REF! | 241.73 | 286.84
AA32+BI32 | 111 | Radier de concreto armado 15 mPa | m3 | #REF! | 373.05 | #REF! | 310.88 | 373.05
V32+BG32 | 112 | Enrocamento com pedra britada | m3 | #REF! | 41.62 | #REF! | 41.62 | 41.62
AM32+BD32(Ø30) | 125 | Fornec e assent tubo concr simples C2 0.30 P.B | m | #REF! | 22.75 | #REF! | 18.96 | 22.75
AN32 | 126 | Fornec e assent tubo concr simples C2 0.40 P.B | m | #REF! | 30.64 | #REF! | 28.09 | 30.64
AO32 | 127 | Fornec e assent tubo concr simples C2 0.50 P.B | m | #REF! | 43.35 | #REF! | 39.2 | 43.35
AP32+Trav | 128 | Fornec e assent tubo concr simples C2 0.60 P.B | m | #REF! | 54.48 | #REF! | 48.23 | 54.48
AQ32+Trav | 135 | Fornec e assent tubo concr armado CA-2 0.80 MF | m | #REF! | 98.28 | #REF! | 88.28 | 98.28
AR32+Trav | 140 | Fornec e assent tubo concr armado CA -2 1.00 MF | m | #REF! | 134.59 | #REF! | 170.66 | 134.59
AS32+Trav | 141 | Fornec e assent tubo concr armado CA -2 1.20 MF | m | #REF! | 199.9 | #REF! | 166.59 | 199.9
AT32+Trav | 142 | Fornec e assent tubo concr armado CA -2 1.50 MF | m | #REF! | 300.3 | #REF! | 250.25 | 300.3
AU32 | 156 | Poço de visita tipo A 0,80x0,80x1,00 completo | un | #REF! | 288.97 | #REF! | 266.48 | 288.97
AW32 | 157 | Metro adicional de P.V tipo A 0,80x0,80 | m | #REF! | 219.14 | #REF! | 205.21 | 219.14
AX32 | 158 | Poço de visita tipo B 1,00x1,00x1,50 completo | un | #REF! | 439.64 | #REF! | 406.32 | 439.64
AZ32 | 159 | Metro adicional de P.V tipo B 1,00x1,00 | m | #REF! | 266.11 | #REF! | 249.04 | 266.11
BA32 | 160 | Poço de visita tipo C 1,00x1,30x1,50 c/ chassis compl | un | #REF! | 550.57 | #REF! | 471.23 | 550.57
BC6 | 161 | Metro adicional de P.V tipo C 1,00x1,30 | m | #REF! | 335.21 | #REF! | 283.12 | 335.21
CONTAR | 172 | Boca-de-lobo c/ fornec e coloc artefatos | un | 14 | 193.06 | 2702.84 | 172.78 | 193.06
| 111 | Concreto Armado 15 mPa | m3 | 4 | 373.05 | 1492.2 | 310.88 | 373.05
[5 empty] | TOTAL | #REF!
1-DRENAGEM PLUVIAL - Est 10 - Est 20(PI 2001)
Coluna | Cód. | ÍTEM | Unidades | Quantitativos | Vl. Unitários | Total (R$) | 2000-10-01 | 2002-06-01
AC33+BJ33 | 90 | Escavação mec vala terra com retroescav prof 2,50 m | m3 | #REF! | 4.36 | #REF! | 4.36 | 4.36
(13x1,2)BL | 93 | Escavação manual valas em terra até 1,5 m prof | m3 | 15.6 | 13.45 | 209.82 | 13.45 | 13.45
AJ33+BL33 | 103 | Reenchimento de valas com material local (reaterro) | m3 | #REF! | 4.31 | #REF! | 4.31 | 4.31
AK33 | 106 | Escoramento tipo A | m3 | #REF! | 6.94 | #REF! | 6.94 | 6.94
AF33+BH33 | 110 | Lastro de concreto simples 15 mPa c/ forma (envelop) | m3 | #REF! | 286.84 | #REF! | 241.73 | 286.84
AA33+BI33 | 111 | Radier de concreto armado 15 mPa | m3 | #REF! | 373.05 | #REF! | 310.88 | 373.05
V33+BG33 | 112 | Enrocamento com pedra britada | m3 | #REF! | 41.62 | #REF! | 41.62 | 41.62
AM33+BD33(30) | 125 | Fornec e assent tubo concr simples C2 0.30 P.B | m | #REF! | 22.75 | #REF! | 18.96 | 22.75
AN33 | 126 | Fornec e assent tubo concr simples C2 0.40 P.B | m | #REF! | 30.64 | #REF! | 28.09 | 30.64
AO33 | 127 | Fornec e assent tubo concr simples C2 0.50 P.B | m | #REF! | 43.35 | #REF! | 39.2 | 43.35
AP33+Trav | 128 | Fornec e assent tubo concr simples C2 0.60 P.B | m | #REF! | 54.48 | #REF! | 48.23 | 54.48
AQ33+Trav | 135 | Fornec e assent tubo concr armado CA-2 0.80 MF | m | #REF! | 98.28 | #REF! | 88.28 | 98.28
AR33+Trav | 140 | Fornec e assent tubo concr armado CA -2 1.00 MF | m | #REF! | 134.59 | #REF! | 170.66 | 134.59
AS33+Trav | 141 | Fornec e assent tubo concr armado CA -2 1.20 MF | m | #REF! | 199.9 | #REF! | 166.59 | 199.9
AT33+Trav | 142 | Fornec e assent tubo concr armado CA -2 1.50 MF | m | #REF! | 300.3 | #REF! | 250.25 | 300.3
AU33 | 156 | Poço de visita tipo A 0,80x0,80x1,00 completo | un | #REF! | 288.97 | #REF! | 266.48 | 288.97
AW33 | 157 | Metro adicional de P.V tipo A 0,80x0,80 | m | #REF! | 219.14 | #REF! | 205.21 | 219.14
AX33 | 158 | Poço de visita tipo B 1,00x1,00x1,50 completo | un | #REF! | 439.64 | #REF! | 406.32 | 439.64
AZ33 | 159 | Metro adicional de P.V tipo B 1,00x1,00 | m | #REF! | 266.11 | #REF! | 249.04 | 266.11
BA33 | 160 | Poço de visita tipo C 1,00x1,30x1,50 c/ chassis compl | un | #REF! | 550.57 | #REF! | 471.23 | 550.57
BC33 | 161 | Metro adicional de P.V tipo C 1,00x1,30 | m | #REF! | 335.21 | #REF! | 283.12 | 335.21
CONTAR | 172 | Boca-de-lobo c/ fornec e coloc artefatos | un | 13 | 193.06 | 2509.78 | 172.78 | 193.06
[5 empty] | TOTAL | #REF!
1-DRENAGEM PLUVIAL - Est 20+00 - Est 28+02(PI 2001)
Coluna | Cód. | ÍTEM | Unidades | Quantitativos | Vl. Unitários | Total (R$) | 2000-10-01 | 2002-06-01
AC6+BJ6 | 90 | Escavação mec vala terra com retroescav prof 2,50 m | m3 | #REF! | 4.36 | #REF! | 4.36 | 4.36
(16x1,2)BL | 93 | Escavação manual valas em terra até 1,5 m prof | m3 | 7.2 | 13.45 | 96.84 | 13.45 | 13.45
AJ6+BL6 | 103 | Reenchimento de valas com material local (reaterro) | m3 | #REF! | 4.31 | #REF! | 4.31 | 4.31
AK6 | 106 | Escoramento tipo A | m3 | #REF! | 6.94 | #REF! | 6.94 | 6.94
AF6+BH6 | 110 | Lastro de concreto simples 15 mPa c/ forma (envelop) | m3 | #REF! | 286.84 | #REF! | 241.73 | 286.84
AA6+BI6 | 111 | Radier de concreto armado 15 mPa | m3 | #REF! | 373.05 | #REF! | 310.88 | 373.05
V6+BG6 | 112 | Enrocamento com pedra britada | m3 | #REF! | 41.62 | #REF! | 41.62 | 41.62
AM6+BD6(30) | 125 | Fornec e assent tubo concr simples C2 0.30 P.B | m | #REF! | 22.75 | #REF! | 18.96 | 22.75
AN6 | 126 | Fornec e assent tubo concr simples C2 0.40 P.B | m | #REF! | 30.64 | #REF! | 28.09 | 30.64
AO6 | 127 | Fornec e assent tubo concr simples C2 0.50 P.B | m | #REF! | 43.35 | #REF! | 39.2 | 43.35
AP6+Trav | 128 | Fornec e assent tubo concr simples C2 0.60 P.B | m | #REF! | 54.48 | #REF! | 48.23 | 54.48
AQ6+Trav | 135 | Fornec e assent tubo concr armado CA-2 0.80 MF | m | #REF! | 98.28 | #REF! | 88.28 | 98.28
AR6+Trav | 140 | Fornec e assent tubo concr armado CA -2 1.00 MF | m | 0 | 134.59 | 0 | 170.66 | 134.59
AS6+Trav | 141 | Fornec e assent tubo concr armado CA -2 1.20 MF | m | #REF! | 199.9 | #REF! | 166.59 | 199.9
AT6+Trav | 142 | Fornec e assent tubo concr armado CA -2 1.50 MF | m | #REF! | 300.3 | #REF! | 250.25 | 300.3
AU6 | 156 | Poço de visita tipo A 0,80x0,80x1,00 completo | un | #REF! | 288.97 | #REF! | 266.48 | 288.97
AW6 | 157 | Metro adicional de P.V tipo A 0,80x0,80 | m | #REF! | 219.14 | #REF! | 205.21 | 219.14
AX6 | 158 | Poço de visita tipo B 1,00x1,00x1,50 completo | un | #REF! | 439.64 | #REF! | 406.32 | 439.64
AZ6 | 159 | Metro adicional de P.V tipo B 1,00x1,00 | m | #REF! | 266.11 | #REF! | 249.04 | 266.11
BA6 | 160 | Poço de visita tipo C 1,00x1,30x1,50 c/ chassis compl | un | #REF! | 550.57 | #REF! | 471.23 | 550.57
BC6 | 161 | Metro adicional de P.V tipo C 1,00x1,30 | m | 0 | 335.21 | 0 | 283.12 | 335.21
CONTAR | 172 | Boca-de-lobo c/ fornec e coloc artefatos | un | 6 | 193.06 | 1158.36 | 172.78 | 193.06
[5 empty] | TOTAL | #REF!
ABEngenharia
Execução de infra-estrutura e pavimentação da Rua 1 - Pitinga, trecho a partir da Rua João Antônio da Silveira até a Est.28+02 - Lote 07(Região Restinga) ( 562 m)